## Introduction
Welcome to the COTE Top Ten Super Spreadsheet!
Explanation | Step 1: Fill out the below basic information of your project |  |  | Step 2: Review your benchmarks. This is what your project will be compared against
This tool will calculate project metrics and compare them to industry wide benchmarks. After entering information on each measure tab, the "Results" tab will graphically display the project's performance across all 10 COTE measures of sustainable design. Whether it's used to better understand a design's performance or to streamline the process of submitting for the COTE Top Ten award, this tool will allow easy, consistent calculation and evaluation of project performance metrics. For your reference, the Super Spreadsheet comes loaded with a COTE Top Ten award winner project, as an example on how to fill the required inputs. Make sure you have updated all the input cells with your project values before evaluating your project with the "Summary" and "Results" tab. | Basic Project Information |  |  | Benchmarks |  |  |  | OPTIONAL user-defined Benchmarks
| Project Name | Hughes Warehouse |  | Transportation Carbon Emissions | Transportation - Total Carbon | 4482.5926 | CO2 lbs./occupant/yr
| Project Address | 203 E. Jones ave. |  |  | Transportation - Total Carbon | 291368.5185 | CO2 lbs./yr | Water Consumption |  | Benchmark Source
| apt., suite, etc. | suite 104 |  | Water Consumption | WUI - Water Use Intensity | 14.6 | Gal/sf/year |  | Gal/sf/year
| City | San Antonio |  |  | Total Annual Water Use | 357700 | Gal/yr
| State | TX |  |  | Water Use per Occupant | 5503.0769 | Gal/occupant/yr | Energy Consumption |  | Benchmark Source
| Zip Code | 78215 |  | Energy Consumption | EUI - Energy Use Intensity | 90 | kBtu/sf/year |  | kBtu/sf/year
| Climate Zone | 2A | (Link) |  | Total Annual Energy Use | 2205000 | kBtu/yr
| Total Building Area | 24500 | Gross sf |  | Energy Use per Occupant | 33923.0769 | kBtu/occupant/yr | Operational Carbon Emissions |  | Benchmark Source
| Site Area(?) | 27262 | sf | Operational Carbon Emissions | Carbon Use Intensity | 25.8743 | CO2 lbs./sf/year |  | CO2 lbs./sf/year
| Regularly occupied space(?) | 14000 | sf |  | Carbon Use Intensity | 633921.4823 | CO2 lbs./yr
| Avg. daily occupancy(?) | 65 | People |  | Total annual Carbon Emissions | 9752.6382 | CO2 lbs./occupant/yr | LPD |  | Benchmark Source
| Peak occupancy(?) | 100 | People | Electric Ligthing | Ligthing Power Density (LPD) | 1 | W/sf |  | W/sf
| FTEs(?) | 70 | People
| Project completion year | 2013 |  | Review these numbers for single family residential projects
| Annual days of operation(?) | 365 | Days | Single Family Residential Projects: |  |  |  | Optional user-defined benchmarks can be entered above as a way of tracking any specific benchmarking research that the team conducted. All calculations in the spreadsheet will be based on the auto generated benchmarks, which are consistent with the COTE Top Ten awards program.
| Avg. daily hours of operation(?) | 10 | hours | Water Benchmark |  | Gallons/Household/year
| Total Construction Cost | 1800000 | USD | Energy Benchmark |  | kBtu/Household/year
|  |  |  | Carbon Benchmark |  | Lbs. of CO2/Household/year
Cell Types | Building Program |  |  | This first page will assign a series of benchmarks based on building specific, national data for the project to be compared against. Energy benchmarks are referenced from CBECS 2003. For more details on benchmarking and sourcing, visit the "Reference" tab.
Input data |  |  | Program Breakdown
| Building Primary Program | Office | 100%
Input non-numeric data | Building Secondary |  | 0%
| Building Primary Use |  | 0%
Calculated Value |  | Total must equal 100% | 100%
Explanation | Additional Building Information
| Project Type | Renovation
Reasonable values and sources | Site Environment | Urban
| Previously Developed Site | Yes
| Is the firm an AIA 2030 Signatory | Yes
Super Spreadsheet Team | Reported in the AIA DDx | Yes
Helena Zambrano, AIA (Project Lead) Overland Partners, San Antonio, TX | Third party rating system | None
| FAR | 0.89869
Corey Squire, AIA Lake¦Flato, San Antonio, TX | Cost/sf | 73.4694
| sf/occupant - Avg. | 376.9231
Tate Walker, AIA OPN, Madison, WI | sf/occupant - Peak | 245
| Annual hours of operation | 3650
Z Smith, FAIA EDR, New Orleans, LA
[33 empty] | States | Region | Code | Selection
[11 empty] | Building Type |  |  |  | Energy Benchmarking |  |  | Carbon Benchmarking | [5 empty] | Embodied Carbon Benchmarking |  | Water Benchmarking |  | Building type aggregates |  |  |  |  | AL | South | 4 | 0
[18 empty] | Fuel Breakdown Table: lbs. CO2/kBtu for each fuel source *Assume natural gas | [14 empty] | AK | West | 2 | 0
[33 empty] | AZ | West | 2 | 0
[19 empty] | 0.35836 | 0.12081 | 0.16065 | 0.12081 | [10 empty] | AR | South | 4 | 0
[11 empty] | Primary Use | Secondary Use | Tertiary Use | All Uses | Building Type | EUI | LPD | Building Category (Carbon) | Electricity | Natural gas | Fuel oil | District heat* | Benchmark Carbon Lbs./sf/yr | Building Category (emboded carbon) | Lbs. CO2/sf | Building Category (Water) | Water Use Intensity (Gal/sf/yr) | Carbon Breakdown | EUI Breakdown | Water Breakdown | Embodied carbon | LPD Breakdown | CA | West | 2 | 0
[33 empty] | CO | West | 2 | 0
[33 empty] | CT | Northeast | 1 | 0
[11 empty] | 0% | 0% | 0% | 0% | Bank | 77 | 1 | Office | 70% | 23% | 1% | 6% | 22.1369 | Commercial | 67 | Office | 14.6 | 0 | 0 | 0 | 0 | 0 | DE | Northeast | 1 | 0
[11 empty] | 0% | 0% | 0% | 0% | Bar / night club | 52 | 1.2 | Public assembly | 57% | 28% | 1% | 13% | 13.281 | Commercial | 67 | Public Assembly | 25.7 | 0 | 0 | 0 | 0 | 0 | FL | South | 4 | 0
[11 empty] | 0% | 0% | 0% | 0% | Education - College / University | 120 | 1.2 | Education | 54% | 35% | 3% | 0% | 28.8741 | Educational | 96 | Education | 14.6 | 0 | 0 | 0 | 0 | 0 | GA | South | 4 | 0
[11 empty] | 0% | 0% | 0% | 0% | Convention Center | 66 | 1.1 | Public assembly | 57% | 28% | 1% | 13% | 16.8567 | Commercial | 67 | Public Assembly | 25.7 | 0 | 0 | 0 | 0 | 0 | HI | West | 2 | 0
[11 empty] | 0% | 0% | 0% | 0% | Courthouse | 118 | 1.2 | Office | 70% | 23% | 1% | 6% | 33.9241 | Commercial | 67 | Office | 14.6 | 0 | 0 | 0 | 0 | 0 | ID | West | 2 | 0
[11 empty] | 0% | 0% | 0% | 0% | Education - K-12 School | 75 | 1.2 | Education | 54% | 35% | 3% | 0% | 18.0463 | Educational | 96 | Education | 14.6 | 0 | 0 | 0 | 0 | 0 | IL | Midwest | 3 | 0
[11 empty] | 0% | 0% | 0% | 0% | Education - Other | 76 | 1.2 | Education | 54% | 35% | 3% | 0% | 18.2869 | Educational | 96 | Education | 14.6 | 0 | 0 | 0 | 0 | 0 | IN | Midwest | 3 | 0
[11 empty] | 0% | 0% | 0% | 0% | Education - Preschool | 75 | 1.2 | Education | 54% | 35% | 3% | 0% | 18.0463 | Educational | 96 | Education | 14.6 | 0 | 0 | 0 | 0 | 0 | IA | Midwest | 3 | 0
[11 empty] | 0% | 0% | 0% | 0% | Food - Fast Food | 534 | 1.5 | Food service | 54% | 44% | 0% | 0% | 131.7223 | Commercial | 67 | Restaurant** | 215 | 0 | 0 | 0 | 0 | 0 | KS | Midwest | 3 | 0
[11 empty] | 0% | 0% | 0% | 0% | Food - Grocery Store | 213 | 1.5 | Food sales | 79% | 21% | 0% | 0% | 65.7048 | Commercial | 67 | Grocery Store | 23.7 | 0 | 0 | 0 | 0 | 0 | KY | South | 4 | 0
[11 empty] | 0% | 0% | 0% | 0% | Food - Restaurant | 3.2 | 1.5 | Food service | 54% | 44% | 0% | 0% | 0.78935 | Commercial | 67 | Restaurant** | 215 | 0 | 0 | 0 | 0 | 0 | LA | South | 4 | 0
[11 empty] | 0% | 0% | 0% | 0% | Food - Sales | 225 | 1.5 | Food sales | 79% | 21% | 0% | 0% | 69.4065 | Commercial | 67 | Grocery Store* | 23.7 | 0 | 0 | 0 | 0 | 0 | ME | Northeast | 1 | 0
[11 empty] | 0% | 0% | 0% | 0% | Food - Service | 351 | 1.5 | Food service | 54% | 44% | 0% | 0% | 86.5815 | Commercial | 67 | Restaurant** | 215 | 0 | 0 | 0 | 0 | 0 | MD | Northeast | 1 | 0
[11 empty] | 0% | 0% | 0% | 0% | Laboratory | 370 | 1.4 | Inpatient | 51% | 37% | 3% | 9% | 89.9677 | Educational | 96 | Inpatient | 49.6 | 0 | 0 | 0 | 0 | 0 | MA | Northeast | 1 | 0
[11 empty] | 0% | 0% | 0% | 0% | Library | 104 | 1.3 | public assembly | 57% | 28% | 1% | 13% | 26.562 | Cultural/Institutional | 92 | Public Assembly | 25.7 | 0 | 0 | 0 | 0 | 0 | MI | Midwest | 3 | 0
[11 empty] | 0% | 0% | 0% | 0% | Lodging - Hotel | 94 | 1 | Lodging | 54% | 39% | 1% | 0% | 22.7703 | Lodging | 57 | Lodging | 41.7 | 0 | 0 | 0 | 0 | 0 | MN | Midwest | 3 | 0
[11 empty] | 0% | 0% | 0% | 0% | Lodging - Residence Hall | 89 | 1 | Lodging | 54% | 39% | 1% | 0% | 21.5591 | Lodging | 57 | Lodging | 41.7 | 0 | 0 | 0 | 0 | 0 | MS | South | 4 | 0
[11 empty] | 0% | 0% | 0% | 0% | Medical - Hospital | 227 | 1.2 | Inpatient | 51% | 37% | 3% | 9% | 55.1964 | Healthcare | 75 | Inpatient | 49.6 | 0 | 0 | 0 | 0 | 0 | MO | Northeast | 1 | 0
[11 empty] | 0% | 0% | 0% | 0% | Medical - Office | 59 | 1 | Health care | 51% | 37% | 3% | 9% | 14.3462 | Healthcare | 75 | Outpatient | 15.6 | 0 | 0 | 0 | 0 | 0 | MT | West | 2 | 0
[11 empty] | 0% | 0% | 0% | 0% | Medical - Outpatient surgery | 73 | 1.2 | Outpatient | 67% | 27% | 0% | 0% | 19.9085 | Healthcare | 76 | Outpatient | 15.6 | 0 | 0 | 0 | 0 | 0 | NE | Midwest | 3 | 0
[11 empty] | 0% | 0% | 0% | 0% | Meeting Hall | 52 | 1.2 | public assembly | 57% | 28% | 1% | 13% | 13.281 | Civic Building | 50 | Public Assembly | 25.7 | 0 | 0 | 0 | 0 | 0 | NV | West | 2 | 0
[11 empty] | 0% | 0% | 0% | 0% | Movie Theater | 95 | 1.6 | public assembly | 57% | 28% | 1% | 13% | 24.2634 | Cultural/Institutional | 92 | Public Assembly | 25.7 | 0 | 0 | 0 | 0 | 0 | NH | Northeast | 1 | 0
[11 empty] | 0% | 0% | 0% | 0% | Museum | 95 | 1.6 | public assembly | 57% | 28% | 1% | 13% | 24.2634 | Cultural/Institutional | 92 | Public Assembly | 25.7 | 0 | 0 | 0 | 0 | 0 | NJ | Northeast | 1 | 0
[11 empty] | 100% | 0% | 0% | 100% | Office | 90 | 1 | Office | 70% | 23% | 1% | 6% | 25.8743 | Commercial | 67 | Office | 14.6 | 25.8743 | 90 | 14.6 | 67 | 1 | NM | West | 2 | 0
[11 empty] | 0% | 0% | 0% | 0% | Performing arts | 95 | 1.6 | public assembly | 57% | 28% | 1% | 13% | 24.2634 | Cultural/Institutional | 92 | Public Assembly | 25.7 | 0 | 0 | 0 | 0 | 0 | NY | Northeast | 1 | 0
[11 empty] | 0% | 0% | 0% | 0% | Post Office | 66 | 1.1 | Office | 70% | 23% | 1% | 6% | 18.9745 | Civic Building | 50 | Office | 14.6 | 0 | 0 | 0 | 0 | 0 | NC | South | 4 | 0
[11 empty] | 0% | 0% | 0% | 0% | Public Assembly | 66 | 1.1 | public assembly | 57% | 28% | 1% | 13% | 16.8567 | Civic Building | 50 | Public Assembly | 25.7 | 0 | 0 | 0 | 0 | 0 | ND | Midwest | 3 | 0
[11 empty] | 0% | 0% | 0% | 0% | Public Safety - Police, fire, etc. | 90 | 1 | Public safety | 55% | 31% | 2% | 0% | 21.3986 | Civic Building | 50 | Public order and safety | 42.1 | 0 | 0 | 0 | 0 | 0 | OH | Midwest | 3 | 0
[11 empty] | 0% | 0% | 0% | 0% | Recreation (Visitor Center) | 66 | 1.1 | public assembly | 57% | 28% | 1% | 13% | 16.8567 | Civic Building | 50 | Public Assembly | 25.7 | 0 | 0 | 0 | 0 | 0 | OK | West | 2 | 0
[11 empty] | 0% | 0% | 0% | 0% | Religious Worship | 46 | 1.3 | Religious worship | 47% | 50% | 3% | 0% | 10.7481 | Cultural/Institutional | 92 | Religious Worship* | 7.3 | 0 | 0 | 0 | 0 | 0 | OR | West | 2 | 0
[11 empty] | 0% | 0% | 0% | 0% | Residential - Assisted Living | 124 | 1 | Multifamily | 60% | 35% | 5% | 0% | 32.9011 | Lodging | 57 | Senior Care* | 60.2 | 0 | 0 | 0 | 0 | 0 | PA | Northeast | 1 | 0
[11 empty] | 0% | 0% | 0% | 0% | Residential - Multifamily | 79 | 0.7 | Multifamily | 60% | 35% | 5% | 0% | 20.9612 | Multifamily mid-rise | 56 | Multifamily Housing | 42 | 0 | 0 | 0 | 0 | 0 | RI | Northeast | 1 | 0
[11 empty] | 0% | 0% | 0% | 0% | Retail - Box Store | 47 | 1.5 | Retail (other than mall) | 77% | 20% | 2% | 0% | 14.2556 | Commercial | 67 | Retail* | 8 | 0 | 0 | 0 | 0 | 0 | SC | South | 4 | 0
[11 empty] | 0% | 0% | 0% | 0% | Retail - Convenience Store | 192 | 1.5 | Retail (other than mall) | 77% | 20% | 2% | 0% | 58.2357 | Commercial | 67 | Retail* | 8 | 0 | 0 | 0 | 0 | 0 | SD | Midwest | 3 | 0
[11 empty] | 0% | 0% | 0% | 0% | Retail - General | 72 | 1.5 | Retail (other than mall) | 77% | 20% | 2% | 0% | 21.8384 | Commercial | 67 | Retail* | 8 | 0 | 0 | 0 | 0 | 0 | TN | South | 4 | 0
[11 empty] | 0% | 0% | 0% | 0% | Retail - Mall | 107 | 1.5 | Enclosed and strip malls | 66% | 34% | 0% | 0% | 29.7024 | Commercial | 67 | Enclosed and strip malls | 11.8 | 0 | 0 | 0 | 0 | 0 | TX | South | 4 | 4
[11 empty] | 0% | 0% | 0% | 0% | Self Storage | 31 | 0.8 | Warehouse and storage | 66% | 32% | 0% | 0% | 8.5305 | Commercial | 67 | Warehouse and storage | 3.4 | 0 | 0 | 0 | 0 | 0 | UT | West | 2 | 0
[11 empty] | 0% | 0% | 0% | 0% | Services - General | 77 | 1.4 | Service | 47% | 45% | 6% | 0% | 17.8973 | Commercial | 67 | Mercantile | 12.6 | 0 | 0 | 0 | 0 | 0 | VT | Northeast | 1 | 0
[11 empty] | 0% | 0% | 0% | 0% | Warehouse | 26 | 0.8 | Warehouse and storage | 66% | 32% | 0% | 0% | 7.1546 | Commercial | 67 | Warehouse and storage | 3.4 | 0 | 0 | 0 | 0 | 0 | VA | South | 4 | 0
[11 empty] | 0% | 0% | 0% | 0% | Warehouse - Refrigerated | 127 | 0.8 | Warehouse and storage | 66% | 32% | 0% | 0% | 34.9474 | Commercial | 67 | Warehouse and storage | 3.4 | 0 | 0 | 0 | 0 | 0 | WA | West | 2 | 0
[11 empty] | 0% | 0% | 0% | 0% | Single Family House |  | 0.7 | [7 empty] | 55 | [5 empty] | 0 |  | WV | Midwest | 3 | 0
[13 empty] | SUM | 100% | [12 empty] | SUM | 25.8743 | 90 | 14.6 | 67 | 1 | WI | Midwest | 3 | 0
[33 empty] | WY | West | 2 | 0
[11 empty] | Single Family Benchmark Cell Sorter | [23 empty] | SUM | 4
Single Family Residential Benchmarking
[11 empty] | Urban / Rural | Region | Single Family | Total |  |  |  | kBtu/year
[18 empty] | Northeast Urban | 106800
[11 empty] | 1 | 0 | 0 | 0 |  |  |  | Northeast Rural | 112900
[11 empty] | 0 | 0 | 0 | 0 |  |  |  | West Urban | 69900
[11 empty] | 1 | 0 | 0 | 0 |  |  |  | West Rural | 93100
[11 empty] | 0 | 0 | 0 | 0 |  |  |  | Midwest Urban | 112800
[11 empty] | 1 | 0 | 0 | 0 |  |  |  | Midwest Rural | 111300
[11 empty] | 0 | 0 | 0 | 0 |  |  |  | South Urban | 74000
[11 empty] | 1 | 1 | 0 | 0 |  |  |  | South Rural | 81800
[11 empty] | 0 | 1 | 0 | 0
[13 empty] | Sum (kBut/yr) | 0 |  |  |  | Single Family Carbon Benchmarks
Fuel Breakdown
[11 empty] | Lbs./CO2 per kBtu | Fuel Breakdown | kBtu / fuel Source | Lbs./CO2 per Fuel |  |  |  | Elec | 45.45%
[18 empty] | Gas | 44.48%
[18 empty] | Propane | 4.492%
[11 empty] | 0.36 | 45.45% | 0 | 0 |  |  |  | Fuel Oil | 5.579%
[11 empty] | 0.12 | 44.48% | 0 | 0
[11 empty] | 0.12 | 4.492% | 0 | 0
[11 empty] | 0.16 | 5.579% | 0 | 0
[11 empty] | Total |  |  | 0

## 2 - Community
Measure 2 - Design for Community
Explanations | Calculators: Enter your values into the yellow cells |  |  |  | Reasonable Ranges |  | Sources
Walkscore.com generates a score for walkability and community resources for any address in the US. The higher the score, the more pedestrian friendly the site. | 1 - Walk Score |  |  |  | 0% - 25% | Car Dependent | Walk Score Methodology
[5 empty] | 25% - 50% | Mostly Car Dependent
| www.walkscore.com | 50 |  |  | 50% -70% | Somewhat Walkable
[5 empty] | 70% - 90% | Very Walkable
[5 empty] | 90% - 100% | Walker's Paradise
Based on "Arnstein's Ladder of Social Engagement", how much say did the community have during the design and construction process? | 2 - Community Engagement |  |  |  | Poor | Manipulation, Therapy | Arnstein's Ladder of Citizen Participation
[5 empty] | Baseline | Informing, Consultation
| Community Engagement Level | 4: Consultation |  |  | Better | Partnership, Delegation
[5 empty] | Best! | Citizen Control
The number of occupants commuting by any means other than single occupancy vehicle on any given day. Includes walking, cycling, public transit, etc. | 3 - Percentage of occupants Commuting by Alternative Transportation |  |  |  | Below average | 0% - 23% | 2016 Census: Community Survey
[5 empty] | National average | ~24% | Tri-State Transportation Campaign
| Occupancy type | FTEs |  |  | Above average | 25% - 100%
| Number of occupants commuting by alternative transportation (avg.) | 15 |  |  | ex. New York City | 74%
| Percent Alternative Commuters | 21.43% |  |  | ex. Manhattan | 94%
This simple calculator compares your project's commuting patterns to published national averages. Use a survey (or an educated guess) to determine average commuting distance and average mpg of the building's occupants. If no information is available, use the baseline (US national average). Though its designed for office projects, the calculator can produce good results for all buidlings that people travel to and from. | 4 - Simple Transportation Carbon Calculator |  |  |  | Lbs. of CO2/Occupant |  | Reference Values |  | Unit | Source
[7 empty] | Average car fuel economy | 21.6 | mpg | EIA - 2017 Report
|  | Proposed | Baseline |  | > 4000 | Baseline | Average CO2 emitted per gallon | 19.6 | Lbs. CO2/gallon | EPA - Vehicle Emissions
| Percent of occupants commuting by single occupancy vehicle | 78.57% | 76% | Weekly Avg. | 3000 - 4000 | Getting there | Average one way commute | 13 | Miles | 2016 Census
| Average daily commute (round trip distance) | 15 | 26 | Miles | 2000 - 3000 | Better | Share of single occupancy commutes | 76% |  | 2016 Census
| Days Commuting per week | 5 | 5 | Days | 1000 - 2000 | High Performing | Average commuting days | 250 | days/year | 5 days * 50 weeks
| Weeks commuting per year | 50 | 50 | weeks | 0 - 1000 | Very High Performing
| Average Car mpg | 30 | 21.6 | mpg |  |  | *Please use reference values, not regional values
| Average CO2 / Gallon of Gasoline | 19.6 | 19.6 | Lbs. CO2/Gal
| lbs. of carbon dioxide emitted/occupant/year | 1925 | 4482.5926
| % reduction over the baseline | 57.06%
Determine the number of parking spaces that are required on site by local zoning code. This number is compared to the actual number of spaces provided. | 5 - Parking space reduction |  |  |  | <0% Reduction | Poor
[5 empty] | 0% Reduction | Baseline
| Required On-site parking spaces | 37.5 |  |  | 25% Reduction | Getting there
| Provided on-site parking spaces | 4 |  |  | 50% Reduction | Better
| Parking Space Reduction | 89.33% |  |  | 75% Reduction | High Performing
[5 empty] | 100% Reduction | Very High Performing
Record the number of bike racks and commuter showers provided for building occupants. | 6 - Bicycle Infrastructure |  |  |  | Bike Racks | Commuter Showers
| Occupancy type | FTEs
| Number of Bike Racks | 15 |  |  | 10% - Good | 1% - Good
| Number of Showers | 2 |  |  | 25% - Better | 2.5% - Better
| Bike Racks installed for | 21.43% | FTEs |  | 50% - Best! | 5% - Best!
| Showers installed for | 2.857% | FTEs

## 3 - Ecology
Measure 3 - Design for Ecology
Explanations | Calculators: Enter your values into the yellow cells |  |  | Reasonable Ranges | Sources
Record the area of the site that was reserved for vegetation, both before and after development. Green roofs are included in vegetated area | 1 - Vegetated Area |  |  | In most cases, it's desirable to increase a site's vegetated area.
| Green roof area | 0 | sf
| Building footprint area | 24500 | sf
| Surface parking area |  | sf
| Area of additional on site hardscapes | 900 | sf
| Area of the total site that is vegetated - Post Development | 1862 | sf
| Site Area | 27262 | sf
| Percent Vegetated - Post Development | 6.83%
| Area of the total site that is vegetated - Pre Development | 0 | sf
| Percent Vegetated - Pre Development | 0.003668%
| Vegetated Area Increase | 99.95%
Native plants include those that are indigenous to a specific geographic location and are adapted for the local climate and ecosystems. Use "turf grass" for any landscape areas with decorative plants not adapted to the local climate. | 2 - Native Plantings |  |  | A greater percentage of native plants and a smaller percentage of turf grass is usually preferable.
| Area of the total site covered by native plants- Post Development | 1362 | sf
| Area of the total site covered by turf grass - Post Development | 0 | sf
| Native plantings - Percent of vegetated area | 73.15%
| Turf grass - Percent of Site | 0%
| Native plantings - Percent of site | 4.996%

## 4 - Water
Measure 4 - Design for Water
Explanations | Calculators: Enter your values into the yellow cells | [8 empty] | Reasonable Ranges |  |  |  |  | Sources
Step 1: Indoor Water Use: This simple calculator will give an estimate of a building's water consumption. Three uses are taken into account for this calculation, indoor water use, irrigation, and cooling. For the sake of simplicity, other water uses, such as pools or commercial kitchens are not included. If your project has had a more sophisticated water use analysis, you can skip the calculator and enter the modeled values below in section 3. Commercial v Residential: Choose either "Commercial" or "Residential" from the dropdown for "Water Use Profile" under section 1 of this tab and input the flow rates for the corresponding table. Residential includes single family, multifamily, and lodging. | 1 - Predicted Water Use | [13 empty] | Source: EPA Energy Start Data Trends
| Step 1) Indoor Water Use | [9 empty] | Gallon/sf/yr by Building Type |  |  |  | Source: CBECS Table W1. Water consumption 2012
[11 empty] | Building Type | Low | High |  | Source: Savetexaswater.org Analsysis
|  |  |  | Daily Ave. Occupancy | 65 | [5 empty] | Education | 10.95 | 18.25 |  | Sources: EPA WaterSense - Residential Water Use
|  |  |  | Annual days of operations | 365 |  | Water Use Profile | Commercial |  |  | Enclosed and strip malls | 8.85 | 14.75
[11 empty] | Grocery Store | 17.775 | 29.625 |  | The table to the left contains values that are +/- 25% from the benchmark.
[11 empty] | Inpatient | 37.2 | 62
| Step 1) Indoor Water use | [9 empty] | Lodging | 31.275 | 52.125
|  |  |  | Occupants | Toilet | Urinal | Shower | Lavatory | Kitchen Faucet |  | Mercantile | 9.45 | 15.75
| Uses / day / Occupant | Male Occupant |  | 32.5 | 1 | 2 | 0.1 | 3 | 1 |  | Multifamily Housing | 31.5 | 52.5 |  | Typical Flow Rates
|  | Female Occupant |  | 32.5 | 3 | 0 | 0.1 | 3 | 1 |  | Office | 10.95 | 18.25 |  | EPA WaterSense
| Total uses / day | Male Occupant |  |  | 32.5 | 65 | 3.25 | 97.5 | 32.5 |  | Outpatient | 11.7 | 19.5 |  |  | Residential |  | Commercial
|  | Female Occupant |  |  | 97.5 | 0 | 3.25 | 97.5 | 32.5 |  | Public Assembly | 19.275 | 32.125 |  |  | High | Low | High | Low
| Total uses / Day |  |  |  | 130 | 65 | 6.5 | 195 | 65 |  | Public order and safety | 31.575 | 52.625 |  | Toilet | 1.6 | 1.1 | 1.6 | 1.1
[6 empty] | * if no urinal, use toilet value |  |  |  |  | Religious Worship | 5.475 | 9.125 |  | Sink | 1.5 | 1 | 0.5 | 0.5
| Fixture Flow Rates (GPF / GPM) |  |  |  | 1.1 | 0.5 | 2 | 0.5 | 2.2 |  | Restaurant | 161.25 | 268.75 |  | Shower | 2.5 | 2 | 2 | 1.5
| Duration per use (Minute) | [5 empty] | 5 | 0.5 | 0.25 |  | Retail | 6 | 10 |  | Urinal | x | x | 1 | 0.2
| Gallons used / day |  |  |  | 143 | 32.5 | 65 | 48.75 | 35.75 |  | Senior Care | 45.15 | 75.25 |  | Kitchen Sink | 2.2 | 1.8 | 2.2 | 1.28
| Gallons used / year |  |  |  | 52195 | 11862.5 | 23725 | 17793.75 | 13048.75 |  | Warehouse and storage | 2.55 | 4.25
| Total indoor water use - Gallons / Day |  |  | 289.25 | Total indoor water use - Gallons / Year |  |  | 105576.25 |  |  | Single Family Residential | 300 gal/household/day
Step 2) Irrigation Water Use
Is potable water used for irrigation (after a two year establishment period)? | [9 empty] | Yes - baseline
| Is potable water used for irrigation? |  |  |  | No |  |  |  |  | No- high performing
Quick Irrtgation Estimator Calculator
Step 2: Irrigation Use Enter the total area that will be irrigated and then for each dropdown, choose the characteristic that best matches your site, plantings, and irrigation system. |  |  |  |  | Proposed Design |  |  | Baseline #1: All Turf | Baseline #2: All Native | 1 ) ET0 - Evapotranspiration |  |  | 3) PF - Plant Factor3 |  | Irrigation Demand Calculations
| Irrigated Area (potable or non-potable) |  |  |  | 300 | sf |  | 300 | 300 | Climate | Summer (In) |  | Plantings | PF | Methodology for Estimating Landscape Irrigation Demand
| Summer Evapotranspiration |  |  |  | Warm Humid | 3.3 |  | 3.3 | 3.3 | Cool Humid | 3.8 |  | Turf | 1
| Plant Quality Factor (Qf) |  |  |  | Some water stress | 0.4 |  | 0.4 | 0.4 | Cool Dry | 5.3 |  | Garden / Agriculture | 1
| Type of plantings (Plant Factor) |  |  |  | Native Plants | 0.2 |  | 1 | 0.2 | Warm Humid | 5.3 |  | Annual flowers | 0.8 | 1 - The percentage of a plant's optimal irrigation quantity that it receives. "No water stress" - Simulates a rainy season "Baseline" - Simulates a typical season "Water stress" - Simulates a dry season
| Irrigation efficiency |  |  |  | Drip Irrigation | 0.9 |  | 0.75 | 0.9 | Warm Dry | 6.8 |  | Orchard - evergreen | 0.8
[6 empty] | 54.824 |  | 328.944 | 54.824 | Hot Humid | 8.3 |  | Orchard - deciduous | 0.7
[8 empty] | Proposed Design Comparison |  | Hot Dry | 12 |  | Perennial flowers | 0.7
| Month |  |  |  | Irrigation Co. | Gallons |  | 83.33% | 0% |  |  |  | Ground covers | 0.6
| January |  |  |  | 31% | 16.9954 |  |  |  | 2) Qf - Plant Quality Factor1 |  |  | Trees | 0.6 | 2 - The percentage of irrigated water that is used by the plant.
| February |  |  |  | 38% | 20.8331 |  |  |  | No water stress | 1 |  | Shrubs | 0.6
| March |  |  |  | 60% | 32.8944 |  |  |  | Baseline | 0.8 |  | Native plants | 0.2
| April |  |  |  | 77% | 42.2145 |  |  |  | Water Stress | 0.4 |  |  |  | 3 - The relative amount of water that a plant requires compared to turf grass.
| May |  |  |  | 88% | 48.2451
| June |  |  |  | 99% | 54.2758 |  |  |  | 3) Irrigation Efficiency2
| July |  |  |  | 100% | 54.824 |  |  |  | Drip | 0.9
| August |  |  |  | 100% | 54.824 |  |  |  | Sprinklers | 0.75
| September |  |  |  | 77% | 42.2145 |  |  |  | Sprinklers, slope | 0.6
| October |  |  |  | 60% | 32.8944
| November |  |  |  | 38% | 20.8331
| December |  |  |  | 30% | 16.4472
| Annual Irrigation Water Use (Gal) |  |  |  |  | 437.4955
Step 3) Cooling tower
Step 3: Chiller Use This section is an extremely rough estimate of the water consumption of a cooling tower. | Percent of the buidling cooled by a water-cooled chiller |  |  |  | 0% |  |  |  |  | Nation Average - Buildings with cooling towers use 7 gallons of water more (per sf annually) than those without. |  |  |  |  | Source: CBECS Table W1. Water consumption 2012
| Cooling tower water use |  |  |  | 0 | Gallons/sf/yr
[5 empty] | 0 | Gallons/yr
*examples of stratgies for conserving cooling tower water include: using alternative sources of water, optimizing the cycles of concentration and minimizing bleed volume, minimizing drift, and preventing overflows and leaks.
| Does the cooling tower use potable water? |  |  |  | n/a | 1 | Assume: 0 water for non-potable use, 25% less water for conservation strategies.*
| Where strategies taken to conserve cooling tower water? |  |  |  | n/a | 1
| Total cooling tower water use |  |  |  | 0 | Gallons / yr
Enter the monthly modeled and measured water consumption for each water source. 1 - Modeled potable water use is pre-entered from the above calculator and only takes into account bathroom use, Irrigation, and an order of magnitude estimate for cooling tower use. (Note: Due to complexity and variability, water used in restaurants, laboratories, or industrial processes, is not take into account.) 2 - Measured potable use can be read off utility bills. 3 - For grey/black water and rainwater, only include the purified water that is reused for another purpose and offsets a potential potable use, such as irrigation. Condensate and foundation water that offsets potential potable water use can be included here as well | 2 - Measured Water use per occupant / Percent of rainwater used / Percent of Grey+Blackwater used
|  |  | Predicted |  |  |  | Measured |  |  | In most cases, the lower percent of potable water uses, the better.
|  | Month | Demand1 gallons/month | Potable gallons/month | Rainwater gallons/month | Reclaimed grey/black1 gallons/month | Potable2 gallons/month | Rainwater gallons/month | Reclaimed grey/black3 gallons/month
|  | January | 8815.0163 | 7815.0163 | 1000 | 0 | 10575 | 1000 | 0
|  | February | 8818.854 | 7818.854 | 1000 | 0 | 10575 | 500 | 0
|  | March | 8830.9152 | 7830.9152 | 1000 | 0 | 10575 | 2000 | 0
|  | April | 8840.2353 | 7840.2353 | 1000 | 0 | 10575 | 3000 | 0
|  | May | 8846.266 | 7846.266 | 1000 | 0 | 10575 | 8000 | 0
|  | June | 8852.2966 | 7852.2966 | 1000 | 0 | 10575 | 500 | 0
|  | July | 8852.8448 | 7852.8448 | 1000 | 0 | 10575 | 500 | 0
|  | August | 8852.8448 | 7852.8448 | 1000 | 0 | 10575 | 500 | 0
|  | September | 8840.2353 | 7840.2353 | 1000 | 0 | 10575 | 1000 | 0
|  | October | 8830.9152 | 7830.9152 | 1000 | 0 | 10575 | 6000 | 0
|  | November | 8818.854 | 7818.854 | 1000 | 0 | 10575 | 500 | 0
|  | December | 8814.468 | 7814.468 | 1000 | 0 | 10575 | 500 | 0
|  | Total (Gal) | 106013.7455 | 94013.7455 | 12000 | 0 | 126900 | 24000 | 0
[5 empty] | Total Annual Gallons | Potable | Rainfall | Grey/Black
|  |  |  | Predicted | 106013.7455 | 88.68% | 11.32% | 0%
|  |  |  | Measured | 150900 | 84.1% | 15.9% | 0%
Water Use Summary
This table shows how the predicted water use from the calculators above compares with the benchmark. |  |  |  |  | Total Potable Demand |  |  |  |  | See the Benchmarking page for Reasonable Ranges
[5 empty] | Predicted | Measured
| Total Annual Water Use |  |  |  | 94013.7455 | 102900 | Gallons/yr
| Total Annual Water Use / Occupant |  |  |  | 1446.3653 | 1583.0769 | Gallons/Occupant/yr
| Total Annual Water Use / sf |  |  |  | 3.8373 | 4.2 | Gallons/sf/yr
Benchmarks
| Total Annual Water Use - Benchmark |  |  |  | 357700 | Gallons/yr
| Total Annual Water Use / Occupant - Benchmark |  |  |  | 5503.0769 | Gallons/Occupant/yr
| Improvement |  |  |  | 73.72% | 71.23%
Stormwater Management Calculator: Step 1: Choose your local 24H, 2Y storm event off the table to the right. Step 2: Enter the total volume of onsite storage, either a cistern or a retention pond. Step 3: Enter the area of each type of surface. | 3 - Stormwater managed on-site | [8 empty] | 2yr 24h Storm Events
[10 empty] | City | Inch | Surface | Runoff Co. |  | Storm Events
|  |  |  | 24H 2Yr Event (in) | 3.6 |  |  |  |  | Atlanta | 3.6 | Metal Roof | 0.90 - 0.95 |  | US Rainfall Atlas
|  |  |  | 24H 2Yr Event (ft) | 0.3 |  |  |  |  | Chicago | 2.4 | Asphalt Roof | 0.85 - 0.90 |  | This resource is a bit out of date, but is still useful if location specific rainfall data is not available
|  |  |  | Rainwater Storage (cf) | 27 |  |  |  |  | Cleveland | 2 | Gravel Roof | 0.80 - 0.85
[7 empty] | Cubic Feet |  |  | Dallas | 3.7 | Green Roof | 0.25 - 0.50
|  |  |  | Surface | Runoff Coefficient | Area (sf) | Stormwater | Total Runoff |  | Denver | 1.4 | Concrete | 0.70 - 0.95 |  | Runoff
|  |  |  | Roof | 0.9 | 24500 | 7350 | 6615 |  | Helena | 1.4 | Asphalt | 0.70 - 0.95 |  | Run Coeficient Table
|  |  |  | Impervious | 0.9 | 900 | 270 | 243 |  | Houston | 4.6 | Bricks | 0.70 - 0.85 |  | This resource goes into detail on surface conditions and soil type
|  |  |  | Turf | 0.2 | 0 | 0 | 0 |  | Las Vegas | 0.8 | Pavers | 0.60 - 0.80
|  |  |  | Native Plantings | 0.05 | 1362 | 408.6 | 20.43 |  | Los Angeles | 2.2 | Turf | 0.15- 0.30
|  |  |  | Semi-Pervious | 0.5 | 500 | 150 | 75 |  | Memphis | 3.8 | Native plants | 0.05 - 0.25
|  |  |  | Sub Total |  | 27262 | 8178.6 | 6953.43 |  | Miami | 5.4 | Sandy soil | 0.05 - 0.25
|  |  |  | After Storage |  |  |  | 6926.43 |  | New York | 3.4 | Clay-y soil | 0.15 - 0.45
|  |  |  | Total Percent Managed Onsite | 15.31% |  |  |  |  | Philadelphia | 3 | Forest | 0.05 - 0.25
Water Runoff Quality Score: Choose the most applicable option from the dropdown. This is a simple way to self assess the quality of stormwater leaving the site. | 4 - Water Runoff Quality | [8 empty] | 1 | Poor
[10 empty] | 2 | Baseline
| Estimated Water Runoff Quality (Choose one) |  |  |  | Runoff mostly from vegetated area |  |  |  |  | 3 | Better
| Estimated Water Runoff Quality (Score 1-5) |  |  |  | 3 |  |  |  |  | 4 | High Performing
[10 empty] | 5 | Very High Performing

## 5 - Economy
Measure 5 - Design for Economy
| Explanations | Calculators: Enter your values into the yellow cells. Enter non-numerical data into the green cells |  |  |  |  | Reasonable Ranges |  |  |  | Sources
| Enter the published cost to construct similar buildings in the region and list the source. | 1 - Construction cost benchmark
|  | Benchmark - Building Type Specific | 150 | /sf | Benchmark Source | BOMA 2016 |  |  |  | BOMA maintenance costs
|  | Actual construction cost | 73.4694 | /sf
|  | Construction cost reduction from the benchmark | 51.02%
| There are many design strategies for reducing building operating costs. Include design strategies, along with their estimated numerical impact here. This should be pretty rough and is most valuable as a thought exercise. The cost savings from utilities are already populated. | 2 - Estimated operating cost reduction |  |  |  |  | US Office Building O+M Cost Benchmarks (BOMA Report 2016)
|  |  | Operating and maintenance cost reduction strategies: |  |  |  | Utilities | 2.16 | /sf/yr
|  | From utility savings | 8812.8 | /year | Major Strategy | Renewable energy | Administrative | 1.45 | /sf/yr
|  | From cleaning |  | /year | Major Strategy |  | Cleaning | 1.52 | /sf/yr
|  | Durability investments |  | /year | Major Strategy |  | Parking | 0.61 | /sf/yr
|  | Other |  | /year | Major Strategy |  | Roads and grounds | 0.25 | /sf/yr
|  | Other |  | /year | Major Strategy |  | Repairs and maintenance | 2 | /sf/yr
|  | Total | 8812.8 | /year |  |  | Total | 7.99 | /sf/yr
| An efficient building will use fewer resources to construct, operate, and maintain. Enter the typical building efficiency ratio for the building type as a benchmark, the source of the benchmark, and the efficiency ratio achieved. | 3 - Building space efficiency
GSA Workspace Utilization and Allocation
|  | Efficiency ratio Benchmark - Building Type Specific | 70% |  | Benchmark Source | GSA
|  | Efficiency ratio achieved | 80% |  | Major Strategy
|  | Efficiency ratio percent improvement | 14.29%

## 6 - Energy
Measure 6 - Design for Energy
| Explanations | Calculators: Enter your values into the yellow cells. Enter non-numerical data into the green cells | [10 empty] | Reasonable Ranges | Sources
| Benchmarks will auto fill from the benchmarking page. | 1 - Predicted and Measured energy use | [10 empty] | See the Benchmarking page for reasonable ranges. | See The benchmarking page
Step 1: Benchmark
|  |  | Benchmark Site EUI | 90 | kBtu/sf/yr |  |  | Benchmark Site Annual Energy | 2205000 | kBtu/yr
|  |  | Benchmark Site CO2 Emissions | 25.8743 | lbs. of CO2/sf/yr |  |  | Benchmark Site annual CO2 Emissions | 633921.4823 | lbs. of CO2/yr
Step 2: Record Monthly Energy Use
| Step 1: Fill out the predicted energy uses, per fuel type, from an energy model. Step 2: Fill out the measured energy uses per fuel type. If an energy model was not completed for the project, just fill out the measured energy use. If a fuel type was not used, leave the monthly inputs as Zero. If a fuel type was used, but recorded in different units (such as Therms rather than CCF), use the conversion factors link to the right. Enter the local energy cost for each fuel type if available. | [11 empty] | See the benchmarking page for reasonable ranges. | EPA - Energy Conversions
|  |  | Predicted |  |  |  |  | Measured | [5 empty] | EIA - Electricty Costs
|  |  | Grid Electricity | Natural Gas | Chilled Water | District Steam | Onsite Generation | Grid Electricity | Natural Gas | Chilled Water | District Steam | Onsite Generation
|  | Month | kWh | ccf | Ton Hours | kLbs | kWh | kWh | ccf | Ton Hours | Lbs | kWh |  | EIA - Natural Gas Costs
|  | January | 15000 | 0 | 0 | 0 | 2500 | 12000 | 0 | 0 | 0 | 5220
|  | February | 15000 | 0 | 0 | 0 | 2500 | 11000 | 0 | 0 | 0 | 4660
|  | March | 15000 | 0 | 0 | 0 | 2500 | 13500 | 0 | 0 | 0 | 5390
|  | April | 15000 | 0 | 0 | 0 | 3000 | 14900 | 0 | 0 | 0 | 6520
|  | May | 15000 | 0 | 0 | 0 | 3000 | 17800 | 0 | 0 | 0 | 7240
|  | June | 15000 | 0 | 0 | 0 | 4000 | 21300 | 0 | 0 | 0 | 8240
|  | July | 15000 | 0 | 0 | 0 | 4000 | 24100 | 0 | 0 | 0 | 7980
|  | August | 15000 | 0 | 0 | 0 | 3000 | 21800 | 0 | 0 | 0 | 6570
|  | September | 15000 | 0 | 0 | 0 | 3000 | 19400 | 0 | 0 | 0 | 6230
|  | October | 15000 | 0 | 0 | 0 | 2500 | 16700 | 0 | 0 | 0 | 6930
|  | November | 15000 | 0 | 0 | 0 | 2500 | 13300 | 0 | 0 | 0 | 4850
|  | December | 15000 | 0 | 0 | 0 | 2500 | 12200 | 0 | 0 | 0 | 3610
|  | Total | 180000 | 0 | 0 | 0 | 35000 | 198000 | 0 | 0 | 0 | 73440
|  | Conversion Factor | 3.41 | 102.6 | 12 | 1194 | 3.41 | 3.41 | 102.6 | 12 | 1.194 | 3.41
|  | Total (kBtu) | 613800 | 0 | 0 | 0 | 119350 | 675180 | 0 | 0 | 0 | 250430.4
|  | Cost of Energy (per selected unit) | 0.12 | 0.94 | 0.18 | 9.39 | -0.02
|  | CO2 emissions (Lbs.) per kBtu | 0.35777 | 0.12 | 0.35777 | 0.12 | -0.36 | 0.35777 | 0.12 | 0.35777 | 0.12 | -0.36
|  | Total CO2 Emissions | 219600 | 0 | 0 | 0 | -42966 | 241560 | 0 | 0 | 0 | -90154.944
Step 2: Review Outputs
|  |  |  | Predicted | Measured
|  |  | Total Gross Energy (kBtu/yr) | 613800 | 675180
|  |  | Total Net Energy (kBtu/yr) | 494450 | 424749.6
|  |  | Percent from Renewable Energy | 19.44% | 37.09%
|  |  | Gross EUI (kBtu/sf/yr) | 25.0531 | 27.5584
|  |  | Net EUI (kBtu/sf/yr) | 20.1816 | 17.3367
|  |  | Net Energy percent reduction from Benchmark | 77.58% | 80.74%
|  |  | Total Net CO2 Emissions (Lbs./yr) | 176634 | 151405.056
|  |  | Net CO2 Emissions (Lbs./sf/yr) | 7.2096 | 6.1798
|  |  | CO2 Percent reduction from Benchmark | 72.14% | 76.12%
|  |  | Net operating cost ($) | 20900 | 22291.2
| Step 1: Calculate the total installed lighting power density for your building. Step 2: Determine an appropriate benchmark for the space type from IECC 2015. | 2 - Lighting Power Density | [10 empty] | Use IECC 2015 as the benchmark | LPD Tables by Space
|  |  | Installed Lighting Power Density | 0.7 | W/sf | [7 empty] | Best practice is to achieve at least a 20% reduction from the benchmark
|  |  | Benchmark Lighting power Density | 1 | W/sf
|  |  | Lighting Power density reduction | 30%
| Record your building's window wall ratio. | 3 - Window Wall Ratio | [10 empty] | 30% to 40% is ideal. A higher WWR will significantly increase energy use without improving daylighting. | CBECS Table C4. Sum of major fuel consumption and expenditure gross energy intensities , 2012
|  |  | Window Wall Ratio (WWR) | 0.3
Benchmarks are from CBECS 2003, EUI measured in kBtu/sf/yr used on site, CO2 Emissions measured in lbs. CO2/kBtu. CO2 baseline from CBECS Table 1.Total energy consumption by energy source, 2012

## 7 - Wellness
Measure 7 - Design for Wellness
| Explanations | Calculators: Enter your values into the yellow cells. Enter non-numerical data into the green cells |  |  |  | Reasonable Ranges |  |  |  |  | Sources
| Step 1: Determine the area of the building that is regularly occupied. Step 2: Input the area of occupied spaces that have access to views, operable windows, and daylight. For quality views, include work stations that have a direct line of sight to nature. For operable windows, include work stations within 25' of an operable window. For Daylight, input a continuous daylight autonomy metric. If daylight performance wasn't simulated, input the total area within 15' from from a perimeter wall. | 1 - Quality Views, Operable windows, & Daylighting
[7 empty] | Views | Operable Windows |  | Daylight
|  | Total area of regularly occupied space | 14000 | sf |  | Good | >75% | 60% |  | >65%
|  | Percent of building that is regularly occupied | 57.14% |  |  | Better | >90% | 80% |  | >75%
|  | Area with quality views | 14000 | sf | 100% | Very High Performing | 100% | 100% |  | >85%
|  | Area with operable windows | 9000 | sf | 64.29%
|  | Area served primarily by daylighting | 14000 | sf | 100%
|  | Daylight sensors installed? | Yes
|  | Are operable windows used? | Yes
| Input the total number of accessible thermostats and the percent of occupants who control their own light levels. | 2 - Occupants Per thermostat, Occupants who can control their own lighting
[7 empty] | Task lights | Individual light control |  | Thermostats
|  | Total accessible thermostats | 4 | Thermostat |  | Baseline | no | none |  | Smaller numbers are better
|  | Occupants per thermostat | 16.25 |  |  | Good |  | 50%
|  | Do occupants have task lights? | Yes |  |  | Better |  | 75%
|  | Percent of occupants who control their own light levels | 100% |  |  | Very High Performing | Yes | 100%
| Input information on indoor air quality measurements. | 3 - CO2 & VOCs |  |  |  |  | Max. concentration |  |  |  | USGBC LEED v4 Contaminant control - Table 1. Maximum concentration levels, by contaminant and testing method
[6 empty] | Contaminant |  | All Spaces | Healthcare
|  | Goal Maximum CO2 levels | 700 | ppm |  | Particulates | PM10 | 50 | 20 | ug/m3
|  | Is CO2 measured? | Yes |  |  | Particulates | PM2.5 | 15 | 15 | ug/m3
|  | Maximum Measured CO2 levels | 800 | ppm |  | Ozone | O3 | 0.075 | 0.75 | ppm
|  | Is VOC measured? | Yes |  |  | Carbon monoxide | CO | 9 | 9 | ppm
|  | Maximum Measured VOC levels | 350 | ppb |  | volatile organic compounds | VOCs | 500 | 200 | ug/m3
[6 empty] | Formaldehyde | CH2O | 27 | 16.3 | ppb
| Input the total number of materials that have a third-party health certification in the yellow box. Then name each of those notable materials and their certification. Examples of certifications: *Declare *Health Product Declaration *Cradle to Cradle *Level *Product Lens Certification *ANSI/BIFMA e3 furniture *Facts NSF/ANSI 336 *SDS -OR- Input the total number of chemicals of concern that you avoided. Then name each of those chemicals and the standard that you used as a guide. Examples of the standards include: *Living Building Challenge Red List *WELL Building Standard *Healthier Hospitals Initiative Safer Chemicals *Six Classes (chemicals from Green Science Policy Institute) *Kaiser Permanente Facilities Design Program's Chemicals of Concern in Building Materials, Fabric, Furniture, and Finishes list. *Harvard's Green Building Standards for healthier materials | 4 - Number of materials specified that have health certifications OR avoided chemicals of concern | [8 empty] | Declare.
HPD Collaborative
|  | Materials with health certifications | 0 | Materials |  | Generally, the more certified materials, the better.
|  | Notable Material 1 |  |  | Certification
|  | Notable Material 2 |  |  | Certification
|  | Notable Material 3 |  |  | Certification
|  | Notable Material 4 |  |  | Certification
|  | Notable Material 5 |  |  | Certification
|  | Notable Material 6 |  |  | Certification
|  | Number of chemicals of concern that where avoided | 0 | Chemicals
|  | Chemical of concern AVOIDED |  |  | Standard
|  | Chemical of concern AVOIDED |  |  | Standard
|  | Chemical of concern AVOIDED |  |  | Standard
|  | Chemical of concern AVOIDED |  |  | Standard
|  | Chemical of concern AVOIDED |  |  | Standard
|  | Chemical of concern AVOIDED |  |  | Standard

## 8 - Resources
Measure 8 - Resources
| Explanations | Calculators: Enter your values into the yellow cells. Enter non-numerical data into the green cells |  |  |  | Reasonable Ranges | [5 empty] | Sources
| There are a variety of tools for estimating the embodied carbon of an entire building. The simplest is Build Carbon Neutral, which only takes a few minutes and inputs. For a more detailed analysis, try Talley or Athena | 1 - Embodied Energy |  |  |  | Building Type | lbs. CO2/sf |  |  | Metric Tonnes CO2/sf |  | deQo database of embodied quantity outputs. MIT Building technology program
[7 empty] | Low | Average | High | Low | High
|  | Use the below link to determine the total embodied energy: |  |  |  | Single family | 50 | 55 | 60 | 0.02268 | 0.027216
|  | build carbon neutral | 395 | Metric tonnes of Carbon Dioxide (from buildcarbonneutral.org, Tally...) |  | Multifamily low-rise | 27 | 34 | 41 | 0.012247 | 0.018597
|  |  | 870824.9 | Lbs. of Carbon Dioxide |  | Multifamily mid-rise | 31 | 56 | 81 | 0.014061 | 0.036741
|  |  | 35.5439 | Lbs. of Carbon Dioxide / sf |  | Multifamily high-rise | 42 | 56 | 70 | 0.019051 | 0.031751
|  | Embodied energy Benchmark | 67 | Based on building type |  | Commercial | 49 | 67 | 85 | 0.022226 | 0.038555
|  | Embodied energy reduction from Benchmark | 46.95% |  |  | Educational | 85 | 95.5 | 106 | 0.038555 | 0.048081
[6 empty] | Healthcare | 54 | 74.5 | 95 | 0.024494 | 0.043091
[6 empty] | Cultural/Institutional | 62 | 91.5 | 121 | 0.028123 | 0.054885
| This can be from any tool and taken to any depth | 2 - Life Cycle Analysis |  |  |  | Civic building | 31 | 50 | 69 | 0.014061 | 0.031298
[6 empty] | Lodging | 36 | 57 | 78 | 0.016329 | 0.03538
|  | Was a full building life cycle analysis performed? | Yes |  |  | Industrial | 136 | 164 | 192 | 0.061689 | 0.08709
|  | What Software was used? | Tally |  |  | Public Assembly | 48 | 78.5 | 109 | 0.021772 | 0.049442
|  | Major Structural System? | Masonry |  |  | Mixed Use (Residential/Office/Retail) | 61 | 91 | 121 | 0.027669 | 0.054885
|  | Major strategy for reducing embodied carbon? | Reuse 100% of original structure: Concrete, Brick and Heavy Timber
Major strategy for reducing embodied carbon?
| "An Environmental Product Declaration (EPD) is a document that communicates verified, transparent and comparable information about the life-cycle environmental impact of products." - International EPD System List EPD's (or similar certifications) collected for materials used and tally up the total number. | 3 - Number of Materials Specified with EPDs (or similar) |  |  |  | For materials with EPDs or similar certification, the more the better. | [5 empty] | Environmental Product Declaration (EPD)
|  | Materials with EPDs | 0 | Materials
|  | Notable Material 1 |  |  | Certification
|  | Notable Material 2 |  |  | Certification
|  | Notable Material 3 |  |  | Certification
|  | Notable Material 4 |  |  | Certification
|  | Notable Material 5 |  |  | Certification
|  | Notable Material 6 |  |  | Certification
|  | Notable Material 7 |  |  | Certification
|  | Notable Material 8 |  |  | Certification
|  | Notable Material 9 |  |  | Certification
| Weighing and recording dumpster fills during construction is best practice, but a good estimate will do as well. | 4 - Construction Waste Diverted |  |  |  | Percent Waste Diverted | LBC: Very High Performing thresholds |  |  |  |  | Living Building Challange: Net Positive Waste
[6 empty] | 50% - Good | 99% | Metals
|  | Percent of construction waste diverted from the landfill | 90% |  |  | 75% - Better | 99% | Paper and Cardboard
|  | How the above was the above number determined? | Estimated |  |  | 90% - Best! | 100% | Soil and Biomass
[7 empty] | 95% | Rigid foam / Carpet / Insulation
|  | Notable Strategy |  |  |  |  | 90% | All Other Materials
Notable Strategy
Notable Strategy
| Calculate or estimate the total value of materials that were recycled, local, or certified by third party programs. Local Materials: Don't worry too much about staying in a specific radius from the site. Use your best judgment to determine which materials were harvested or manufactured "locally" Recycled / Reused Materials: Include all materials that contain some component or ingredient that is reused or recylce. | 5 - Recycled Materials, Regional Materials, & Materials with Third Party Certifications
Generally, the more resused, recycled, FSC certified and/or local materials, the better.
|  | Total Construction Cost | 1800000
|  | Total Materials Cost | 900000
Percent
|  | Total cost of recycled materials | 800000 | 88.89%
|  | Total cost of regional materials | 450000 | 50%
|  | How much of installed wood is FSC Certified? | Most | 66.67%
Notable Reused or Recycled Material
Notable Reused or Recycled Material
Notable Reused or Recycled Material
|  | Notable Regional Material |  |  | Source Location
|  | Notable Regional Material |  |  | Source Location
|  | Notable Regional Material |  |  | Source Location

## 9 - Change
Measure 9 - Change
| Explanations | Calculators: Enter your values into the yellow cells. Enter non-numerical data into the green cells |  |  | Reasonable Ranges |  | Sources
| How much floor area was already existing? | 1 - Percent of Reused Floor Area |  |  | Whenever possible, existing buildings should be reused.
|  | Total floor area reused | 24500 | sf
|  | Percent reused | 100%
| Choose the most relevant description of passive functionality from the dropdown. | 2 - Days the Building Can Function Without Power |  |  | Passive Functionality
[5 empty] | 0 | Baseline modern building (w/o operable windows)
|  | Choose one | Partial back up energy |  | 1 | Passive strategies - This is adequate for many buildings
|  | Relative ranking (Score 1-4) | 2 |  | 2 | Backup power for necessary uses
[5 empty] | 3 | Fully functional without the grid
| Input the building's design lifespan. The design lifespan is based on a variety of design choices such as material durability, functional adaptability, and water management. | 3 - Building Lifespan |  |  | Building Design Lifespan
[5 empty] | 30 year | Market rate stick frame
|  | Building design lifespan | 200 | Years | 50 years | Typical single family
|  | Was the building designed for disassembly? | Partially |  | 200 years | Concrete, Steel, or Heavy timber
[5 empty] | 1000 years | Solid Masonry
|  | Notable longevity Strategy | Building is already 100 years old, was retrofitted for at least another 100 years.
|  | Notable longevity Strategy | Reuse of original structure |  | For the most part, the longer the lifespan, the better.
Notable longevity Strategy

## 10 - Discovery
Measure 10 - Discovery
| Explanations | Calculators: Enter your values into the yellow cells. Enter non-numerical data into the green cells | [5 empty] | Reasonable Ranges |  | Sources
| Select all the post occupancy strategies that were employed. | 1 - Level of Post Occupancy Engagement
The higher the score, the better
Which of the following did you do to stay engaged with the building?
|  | Contact the owner / Occupant to see how things are going | Yes | 1 | Formal post occupancy air quality testing | No | 0
|  | Obtain utility bill to determine actual performance | Yes | 1 | Data logging of indoor environmental measurements | Yes | 1
|  | Survey building occupants on satisfaction | Yes | 1 | Post occupancy energy analysis | Yes | 1
|  | Formal onsite daylight measurements | Yes | 1 | Develop and share strategies to improve the building's Performance | Yes | 1
|  | Share collected data with building occupants | Yes | 1 | Teach occupants and operators how to improve building performance | Yes | 1
|  | Post Occupancy Engagement Score | 90%
| Select all the transparency strategies that were employed. | 2 - Level of Transparency
The higher the score, the better
Which of the following did you do to share the lessons of the project?
|  | Present the design of the project to the office | Yes | 1 | Publish post occupancy data from the building | Yes | 1
|  | Present the design of the project to the public | Yes | 1 | Publish any lessons learned from design, construction, or occupancy | Yes | 1
|  | Present outcomes and lessons learned to the office | Yes | 1 | other: | No | 0
|  | Present outcomes and lessons learned to the public | Yes | 1 | other: | No | 0
|  | Transparency score | 75%
| Select the level of occupancy feedback. | 3 - Level of Occupant feedback | [5 empty] | 0 | Baseline
[8 empty] | 1 | Fine
|  | Choose one | Even passive occupants are presented with performance feedback |  |  |  |  | 2 | Good
|  | Relative ranking (Score 0-5) | 5 |  |  |  |  | 3 | Better
[8 empty] | 4 | High Performing
[8 empty] | 5 | Very High Performing

## Summary
COTE Top Ten Toolkit Super Spreadsheet
The summary page displays the outputs for every measure. |  |  | Copy of COTE_TopTen_Toolkit_Super_Spreadsheet_1.4_0.xlsx
| Measure 1 - Design for Integration | Measure 1 - Design for Integration
| Measure 2 - Design for Community | Measure 2 - Design for Community
|  | 2.1 | Walk Score | 50 | Walk Score
|  | 2.2 | Community Engagement Score | 4 | Level of community Engagement (1=low, 7=high)
|  | 2.3 | Alternative Transportation Percentage | 21.43% | Alternative Commuters
|  | 2.4 | Transportation carbon - Annual Carbon / Occupant | 1925 | Lbs. of Carbon Dioxide
|  | 2.4 | Transportation carbon - Total Annual Carbon | 125125 | Lbs. of Carbon Dioxide
|  | 2.4 | Transportation carbon - Percent Reduction | 57.06% | Reduction of Transportation Carbon
|  | 2.5 | Parking Space Reduction | 89.33% | Reduction of Parking Spaces
|  | 2.6 | Bicycle Infrastructure - Bike Racks | 21.43% | of occupants get a bike Rack
|  | 2.6 | Bicycle Infrastructure - Showers | 2.857% | of occupants can shower simultaneously
| Measure 3 - Design for Ecology | Measure 3 - Design for Ecology
|  | 3.1 | Vegetated site area - Post Development | 6.83% | Of site vegetated (Post-development)
|  | 3.2 | Vegetated site area - Pre Development | 0% | Of site vegetated (Pre-development)
|  | 3.2 | Vegetated area increase | 100% | Change in vegetated area (Post-development)
|  | 3.3 | Native plantings - Percent of total | 4.996% | Of total site dedicated to native plantings
|  | 3.3 | Native plantings - Percent of vegetation | 73.15% | Of vegetated area dedicated to native plantings
| Measure 4 - Design for Water | Measure 4 - Design for Water
| Predicted | 4.1 | Water use per occupant - Predicted Annual | 1446.3653 | Gallons of potable water used / occupant / year
|  | 4.1 | Water use per occupant - Predicted Daily | 3.9626 | Gallons of potable water used / occupant / day
|  | 4.1 | Water Use Intensity - Predicted | 3.8373 | Gallons of potable water used / sqft / day
|  | 4.4 | Percent rainwater use - Predicted | 11.32% | Of total water use is from collected rainwater
|  | 4.5 | Percent grey/black water use - Predicted | 0% | Of total water use is from grey or blackwater
|  |  | Potable water reduction | 73.72%
| Measured | 4.3 | Water use per occupant - Measured Annual | 1583.0769 | Gallons of potable water used / occupant / year
|  | 4.3 | Water use per occupant - Measured Daily | 4.3372 | Gallons of potable water used / occupant / day
|  | 4.3 | Water use intensity- Measured | 4.2 | Gallons of potable water used / sf / day
|  | 4.4 | Percent rainwater use - Measured | 18.91% | Of total water use is from collected rainwater
|  | 4.5 | Percent grey/black water use - Measured | 0% | Of total water use is from grey or blackwater
|  |  | Potable water reduction | 71.23%
|  | 4.2 | Potable water used for Irrigation? | No | Is potable water used for irrigation?
|  | 4.6 | Rainwater managed onsite | 15.31% | Of stormwater managed onsite
|  | 4.7 | Estimated runoff quality | 3 | Water quality score (1=low, 5=high)
| Measure 5 - Design for Economy | Measure 5 - Design for Economy
|  | 5.1 | Actual construction cost | 73.4694 | Dollar (USD) / sf
|  | 5.2 | Benchmark Construction cost | 150 | Dollar (USD) / sf
|  | 5.2 | Construction cost reduction from the benchmark | 51.02% | Dollar (USD) / sf
|  |  | Efficiency ratio achieved | 80% | Net to Gross
|  |  | Efficiency ratio percent improvement | 14.29%
| Measure 6 - Design for Energy | Measure 6 - Design for Energy
| Predicted | 6.1 | Net site EUI - Predicted | 20.1816 | kBtu/sf/yr
|  | 6.2 | Gross site EUI - Predicted | 25.0531 | kBtu/sf/yr
|  | 6.3 | Net energy reduction from Benchmark | 77.58% | Net Energy Reduction
|  |  | Carbon emissions / sf - Predicted | 7.2096 | Lbs. of CO2/sf/yr
|  |  | Percent from Renewable Energy | 19.44%
|  |  | CO2 Percent reduction from Benchmark | 72.14%
| Measured | 6.7 | Net site EUI - Measured | 17.3367 | kBtu/sf/yr
|  | 6.8 | Gross site EUI - Measured | 27.5584 | kBtu/sf/yr
|  | 6.9 | Net energy reduction from Benchmark | 80.74% | Net Energy Reduction
|  | 6.1 | Carbon emissions / sf - Measured | 6.1798 | Lbs. of CO2/sf/yr
|  |  | Percent from Renewable Energy | 37.09%
|  |  | CO2 Percent reduction from Benchmark | 76.12%
|  | 6.5 | Lighting Power Density | 0.7 | W/sf
|  | 6.6 | Lighting Power Density % Reduction | 30%
| Measure 7 - Design for Wellness | Measure 7 - Design for Wellness
|  | 7.1 | Quality views | 100% | Occupied area with quality views
|  | 7.2 | Operable windows | 64.29% | Occupied area with operable windows
|  | 7.3 | Daylight autonomy | 100% | Occupied area served primarily by daylight
|  | 7.4 | Individual thermal control | 16.25 | Occupants per thermostat
|  | 7.5 | Individual lighting control | 100% | Occupants who control their own lighting
|  | 7.6 | Peak measured CO2 | 800 | ppm
|  | 7.7 | Peak measured VOC | 350 | ppb
|  |  | Materials with health certifications | 0 | Materials
|  | 7.8 | Checmicals of concern avoided | 0 | Chemicals
Measure 8 - Design for Resources
|  | 8.1 | Embodied energy - CO2/sf | 35.5439 | Lbs. of Carbon Dioxide / sf
|  | 8.2 | Embodied energy - Total CO2 | 870824.9 | Lbs. of Carbon Dioxide - total
|  |  | Embodied energy reduction from benchmark | 46.95%
|  | 8.3 | Life cycle analysis conducted - Y/N | Yes
|  | 8.4 | Number of EPDs Collected | 0 | Materials
|  | 8.5 | % of construction waste diverted | 90%
|  | 8.6 | % of recycled content of building materials | 88.89%
|  | 8.7 | % of regional materials | 50%
|  | 8.8 | % of installed wood that is FSC Certified | 66.67%
| Measure 9 - Design for Change | Measure 9 - Design for Change
|  | 9.1 | % of reused floor area | 100%
|  | 9.2 | Functionality without power (relative score) | 2 | 1=low, 4=high
|  | 9.3 | Percent onsite generation | 37.09%
|  | 9.4 | Carbon emissions saved from adaptive reuse | 870824.9 | Total Lbs. of CO2
|  | 9.5 | Building design lifespan | 200 | Years
| Measure 10 - Design for Discovery | Measure 10 - Design for Discovery
|  | 10. | Level of post occupancy evaluation | 90%
|  | 10. | Level of Knowledge distribution / transparency | 75%
|  | 10. | Level of Feedback (Ongoing discovery) | 5 | Feedback Score (0=low, 5=high)

## Results
|  | Baseline | Baseline | Response |  | VHP | Very High Performance
This page compares metrics against their benchmark along a scale from "Baseline" to "Very High Performance"
Measure 2: Design For Community
| Walk Score | 0 | 0 | 50 |  | 100 | 100
| Community Engagement Score | 1 | 1 | 4 |  | 8 | 8
| Alternative Transportation Percentage | 0% | 0% | 21.43% |  | 100% | 100%
| Transportation carbon - Percent Reduction | 0% | 0% | 57.06% |  | 100% | 100%
| Parking Space Reduction | -100% | -100% | 89.33% |  | 100% | 100%
| Bicycle Infrastructure - Bike Racks | 0% | 0% | 21.43% |  | 50% | 50%
| Bicycle Infrastructure - Showers | 0% | 0% | 2.857% |  | 5% | 5%
Measure 3: Design For Ecology
| Vegetated site area - Post Development | 0% | 0% | 6.83% |  | 50% | 100%
| Native plantings - Percent of vegetation | 0% | 0% | 73.15% |  | 100% | 100%
Measure 4: Design For Water |  |  |  | Predicted | Measured
| Potable water reduction | 0% | 0% | 73.72% | 71.23% | 100% | 100%
| Potable water used for Irrigation? | Yes (0) | Yes | 1 |  | No | No (1)
| Rainwater managed onsite | 0% | 0% | 15.31% |  | 100% | 100%
| Estimated runoff quality | 1 | 1 | 3 |  | 5 | 5
Measure 5: Design For Economy |  |  |  | \
| Construction cost reduction from the benchmark | -100% | -100% | 51.02% |  | 50% | 50%
| Efficiency ratio percent improvement | -50% | -50% | 14.29% |  | 50% | 50%
Measure 6: Design For Energy |  |  |  | Predicted | Measured
| Net energy reduction from Benchmark | 0% | 0% | 77.58% | 80.74% | 105% | 105%
| Percent from renewable energy | 0% | 0% | 19.44% | 37.09% | 100% | 100%
| CO2 Percent reduction from Benchmark | 0% | 0% | 72.14% | 76.12% | 100% | 100%
| Lighting Power Density % Reduction | 0 | 0% | 30% |  | 75% | 75%
Measure 7: Design For Wellness
| Quality views | 0% | 0% | 100% |  | 100% | 100%
| Operable windows | 0% | 0% | 64.29% |  | 100% | 100%
| Daylight autonomy | 0% | 0% | 100% |  | 100% | 100%
| Is CO2 Measured? | No (0) | 0 | 1 |  | 1 | Yes (1)
| Is VOC measured? | No (0) | 0 | 1 |  | 1 | Yes (1) |  | Carbon Calculations
| Materials with health certifications | 0 | 0 | 0 |  | 10 | 10+ |  |  | Total Lbs. of Carbon Dioxide from:
| Checmicals of concern avoided | 0 | 0 | 0 |  | 10 | 10+ |  |  | Commute/year | Energy/year | Building Materials | Total
Measure 8: Design For Resources | [8 empty] | 1 Year | 125125 | 151405.056 | 435412.45 | 711942.506
| Embodied energy reduction from benchmark | 0% | 0% | 100% |  | 100% | 100% |  | 20 years | 2502500 | 3028101.12 | 435412.45 | 5966013.57
| Life cycle analysis conducted - Y/N | No (0) | 0 | 1 |  | 1 | Yes (1) |  | 100 years | 12512500 | 15140505.6 | 435412.45 | 28088418.05
| Number of EPDs Collected | 0 | 0 | 0 |  | 10 | 10+ |  | 200 years | 25025000 | 30281011.2 | 435412.45 | 55741423.65
| % of construction waste diverted | 0% | 0% | 90% |  | 100% | 100% | Design | 200 | 25025000 | 30281011.2 | 435412.45 | 55741423.65
| % of recycled content of building materials |  | 0% | 88.89% |  | 100%
| % of regional materials | 0% | 0% | 50% |  | 100% | 100%
| % of installed wood that is FSC Certified | 0% | 0% | 66.67% |  | 100% | 100% |  |  | Commute/year | Energy/year | Building Materials | Total
Measure 9: Design For Change | [8 empty] | 1 Year | 17.58% | 21.27% | 61.16% | 100%
| % of reused floor area | 0% | 0% | 100% |  | 100% | 100% |  | 20 years | 41.95% | 50.76% | 7.298% | 100%
| Functionality without power (relative score) | 0 | 0 | 2 |  | 4 | 4 |  | 100 years | 44.55% | 53.9% | 1.55% | 100%
| Percent onsite generation | 0% | 0% | 37.09% |  | 100% | 100% |  | 200 years | 44.89% | 54.32% | 0.7811% | 100%
| Building design lifespan | 30 | 30 | 200 |  | 200 | 200 | Design | 200 | 44.89% | 54.32% | 0.7811% | 100%
Measure 10: Design For Discovery
| Level of post occupancy evaluation | 0% | 0% | 90% |  | 100% | 100%
| Level of Knowledge distribution / transparency | 0% | 0% | 75% |  | 100% | 100%
| Level of Feedback (Ongoing discovery) | 0 | 0 | 5 |  | 5 | 5
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0

## Reference Information
Benchmarking
Explanation
Notes on the benchmarking data set: All benchmark values are national averages (CBECS 2003) to align with the COTE Top Ten submission instruction and to keep the values simple, accurate, and comparable across all projects. We understand the subtleties of regional benchmarks and know that they can be helpful in some circumstances, but we also realize that the disproportionally important "predicted energy use reduction" metric can easily be manipulated by overly specific benchmarks. In an effort to avoid the gamification of energy reduction metrics and to refocus project team efforts towards design strategies that contribute to better performance, we have concluded that benchmarking is best if its quick, simple, and broadly applicable. Using national average benchmarking accomplishes this goal. Notes on program types: *Single family homes are benchmarked for annual energy and water consumption rather than per square foot. This is because all single-family homes serve the same functional purpose, regardless of size. Regional and density variations are included for single family houses since they are typically more envelope dominated that other building types. *Laboratories already assume to have some percentage of office space. Select 100% for all laboratory projects. *Water benchmarks for restaurants are best based on gallon/seat or gallon/meal served, but for purposes of simplicity, an average gallon/sf is used. | Energy Benchmarking |  |  | Carbon Benchmarking | [5 empty] | Water Benchmarking |  | National Average Values to estimate carbon emissions |  |  | Single Family Residential Benchmarking
|  |  |  | Fuel Breakdown Table: lbs. CO2/kBtu for each fuel source *Assume natural gas | [7 empty] | 1.222 | Lbs. CO2/kWh | Electricity | kBtu/year
[12 empty] | 0.35836 | Lbs. CO2/kBtu | Electricity | Northeast Urban | 106800
[5 empty] | 0.35836 | 0.12081 | 0.16065 | 0.12081 |  |  |  | 0.00548 | M Tonnes CO2/Therm | Natural Gas | Northeast Rural | 112900
| Building Type | EUI | LPD | Building Category (Carbon) | Electricity | Natural gas | Fuel oil | District heat* | Benchmark Carbon Lbs./sf/yr | Building Category (Water) | Water Use Intensity (Gal/sf/yr) | 12.0813 | Lbs. CO2 / Therm | Natural Gas | West Urban | 69900
[12 empty] | 0.12081 | Lbs. CO2/kBtu | Natural Gas | West Rural | 93100
[12 empty] | 10.15 | kg CO2/gallon | Heating (diesel) oil | Midwest Urban | 112800
| Bank | 77 | 1 | Office | 70% | 23% | 1% | 6% | 22.1369 | Office | 14.6 | 22.33 | lbs. CO2/gallon | Heating (diesel) oil | Midwest Rural | 111300
| Bar / night club | 52 | 1.2 | Public assembly | 57% | 28% | 1% | 13% | 13.281 | Public Assembly | 25.7 | 0.16065 | lbs. CO2/kBtu | Heating (diesel) oil | South Urban | 74000
| Education - College / University | 120 | 1.2 | Education | 54% | 35% | 3% | 0% | 28.8741 | Education | 14.6 | 12.7 | lbs. CO2/gallon | Propane | South Rural | 81800
| Convention Center | 66 | 1.1 | Public assembly | 57% | 28% | 1% | 13% | 16.8567 | Public Assembly | 25.7 | 0.13804 | lbs. CO2/kBtu | Propane
| Courthouse | 118 | 1.2 | Office | 70% | 23% | 1% | 6% | 33.9241 | Office | 14.6 |  |  |  | Single Family Carbon Benchmarks
| Education - K-12 School | 75 | 1.2 | Education | 54% | 35% | 3% | 0% | 18.0463 | Education | 14.6 |  |  |  | Fuel Breakdown
| Education - Other | 76 | 1.2 | Education | 54% | 35% | 3% | 0% | 18.2869 | Education | 14.6 | Energy Benchmarking Sources: |  |  | Elec | 45.45%
| Education - Preschool | 75 | 1.2 | Education | 54% | 35% | 3% | 0% | 18.0463 | Education | 14.6 | CBECS: Energy Consumption by Building Type 2003 |  |  | Gas | 44.48%
| Food - Fast Food | 534 | 1.5 | Food service | 54% | 44% | 0% | 0% | 131.7223 | Restaurant** | 215 | RECS: Annual household site fuel Consumption 2015 |  |  | Propane | 4.492%
| Food - Grocery Store | 213 | 1.5 | Food sales | 79% | 21% | 0% | 0% | 65.7048 | Grocery Store | 23.7 | LPD based on ASHRAE 90.1-2007 values |  |  | Fuel Oil | 5.579%
| Food - Restaurant | 302 | 1.5 | Food service | 54% | 44% | 0% | 0% | 74.4946 | Restaurant** | 215 | AIA 2030
| Food - Sales | 225 | 1.5 | Food sales | 79% | 21% | 0% | 0% | 69.4065 | Grocery Store* | 23.7 | CBECS: Building type definitions |  |  | LPD | 0.7
| Food - Service | 351 | 1.5 | Food service | 54% | 44% | 0% | 0% | 86.5815 | Restaurant** | 215
| Laboratory | 370 | 1.4 | Inpatient | 51% | 37% | 3% | 9% | 89.9677 | Inpatient | 49.6 | Fuel breakdown:
| Library | 104 | 1.3 | public assembly | 57% | 28% | 1% | 13% | 26.562 | Public Assembly | 25.7 | CBECS: Energy Consumption by source 2012
| Lodging - Hotel | 94 | 1 | Lodging | 54% | 39% | 1% | 0% | 22.7703 | Lodging | 41.7 | RECS: Annual household site fuel Consumption 2015
| Lodging - Residence Hall | 89 | 1 | Lodging | 54% | 39% | 1% | 0% | 21.5591 | Lodging | 41.7
| Medical - Hospital | 227 | 1.2 | Inpatient | 51% | 37% | 3% | 9% | 55.1964 | Inpatient | 49.6 | Carbon Benchmarking Sources:
| Medical - Office | 59 | 1 | Health care | 51% | 37% | 3% | 9% | 14.3462 | Outpatient | 15.6 | Source: EIA carbon dioxide emissions coefficients table
| Medical - Outpatient surgery | 73 | 1.2 | Outpatient | 67% | 27% | 0% | 0% | 19.9085 | Outpatient | 15.6
| Meeting Hall | 52 | 1.2 | public assembly | 57% | 28% | 1% | 13% | 13.281 | Public Assembly | 25.7 | Water Benchmarking Sources:
| Movie Theater | 95 | 1.6 | public assembly | 57% | 28% | 1% | 13% | 24.2634 | Public Assembly | 25.7 | **Source: Savetexaswater.org Analsysis
| Museum | 95 | 1.6 | public assembly | 57% | 28% | 1% | 13% | 24.2634 | Public Assembly | 25.7 | *Source: EPA Energy Start Data Trends
| Office | 90 | 1 | Office | 70% | 23% | 1% | 6% | 25.8743 | Office | 14.6 | Source: CBECS Table W1. Water consumption 2012
| Performing arts | 95 | 1.6 | public assembly | 57% | 28% | 1% | 13% | 24.2634 | Public Assembly | 25.7 | Sources: EPA WaterSence - Residential Water Use
| Post Office | 66 | 1.1 | Office | 70% | 23% | 1% | 6% | 18.9745 | Office | 14.6 | EPA v CBECS Comparison
| Public Assembly | 66 | 1.1 | public assembly | 57% | 28% | 1% | 13% | 16.8567 | Public Assembly | 25.7
| Public Safety - Police, fire, etc. | 90 | 1 | Public safety | 55% | 31% | 2% | 0% | 21.3986 | Public order and safety | 42.1
| Recreation (Visitor Center) | 66 | 1.1 | public assembly | 57% | 28% | 1% | 13% | 16.8567 | Public Assembly | 25.7
| Religious Worship | 46 | 1.3 | Religious worship | 47% | 50% | 3% | 0% | 10.7481 | Religious Worship* | 7.3
| Residential - Assisted Living | 124 | 1 | Multifamily | 60% | 35% | 5% | 0% | 32.9011 | Senior Care* | 60.2
| Residential - Multifamily | 79 | 0.7 | Multifamily | 60% | 35% | 5% | 0% | 20.9612 | Multifamily Housing | 42
| Retail - Box Store | 47 | 1.5 | Retail (other than mall) | 77% | 20% | 2% | 0% | 14.2556 | Retail* | 8
| Retail - Convenience Store | 192 | 1.5 | Retail (other than mall) | 77% | 20% | 2% | 0% | 58.2357 | Retail* | 8
| Retail - General | 72 | 1.5 | Retail (other than mall) | 77% | 20% | 2% | 0% | 21.8384 | Retail* | 8
| Retail - Mall | 107 | 1.5 | Enclosed and strip malls | 66% | 34% | 0% | 0% | 29.7024 | Enclosed and strip malls | 11.8
| Self Storage | 31 | 0.8 | Warehouse and storage | 66% | 32% | 0% | 0% | 8.5305 | Warehouse and storage | 3.4
| Services - General | 77 | 1.4 | Service | 47% | 45% | 6% | 0% | 17.8973 | Mercantile | 12.6
| Warehouse | 26 | 0.8 | Warehouse and storage | 66% | 32% | 0% | 0% | 7.1546 | Warehouse and storage | 3.4
| Warehouse - Refrigerated | 127 | 0.8 | Warehouse and storage | 66% | 32% | 0% | 0% | 34.9474 | Warehouse and storage | 3.4